# Terminal Configuration

Baud Rate 9600  
All commands must be terminated by Carriage Return cr

# SETWEIGHT = set offset weight of scale

SETWEIGHT;24.5;cr // set offset weight of scale to 24.5 kg; Attention= use ‘.’ And not a ‘,’

# SETSERIAL

SETSERIAL;12;cr // sets Serial number to 12

# GETSERIAL

GETSERIALcr // returns Serial number of module